## 1 ¦ General information
Calibration Laboratory Department
DA-05 rev. 10-12
| Title | Application for Accreditation of Calibration Laboratories (LAT) |  | in accordance to the standard UNI CEI EN ISO/IEC 17025:2018
| Reference | DA-05
| Revision | 10-12
| Application date | 2023-12-21
1 | General
| Laboratory's business name |  |  | LAT |  | Number (if available)
Indicate any further accreditations and / or laboratory certifications
Reference Material Producer (ISO 17034)
Report number, where applicable
Certified Management System (ISO 9001)
| Website | www. |  | Type "x" to select
| Application for |  |  | Select the item of interest (each DA-05 relates to a specific application, therefore multiple choice is not allowed).
|  | Select the type of place / site ... [Only use the items proposed in the list] | ... then indicate the address (where applicable) of the place where the calibrations are performed. [A unique code is automatically associated with each place in the "ID" column]
| For calibrations at: |  | Address |  |  |  | ID
List of sections of this DA-05:
[5 empty] | [Type "x" to select/deselect] |  | Filled in
| Sec. 1 | General information (this section)
| Sec. 2 | Scope of accreditation
| Sec. 3 | Resources ¦ Personnel
| Sec. 4 | Resources ¦ Equipment
| Sec. 5 | #REF!
| Sec. 6.1 | Participation to Proficiency Tests (PT) and/or Interlaboratory Comparisons (ILC)
| Sec. 6.2 | Evidence of participation in Proficiency Tests (PT) and/or Interlaboratory Comparisons (ILC)
| Sec. 6.3 | Planning of partecipation in Proficiency Tests (PT) and/or Interlaboratory Comparisons (ILC)
| Sec. 7 | Attachments to be sent with the present application
Motivate if one or more sections have not been completed:
I hereby declare that the present application DA-05, attached specifically to the DA-00 Accreditation Application, is complete in all the required sections, subject to the reasons stated above.
Revision
Date of compilation
Laboratory stamp, name and signature of the Legal Representative (1)
| (1) | Legal representative or authorized delegate.

## 2 ¦ Personale OLD (hidden)
Calibration Laboratory Department
DA-05 rev. 10-12
2 | Personale
Scopo: | Fornire informazioni relative al personale del Laboratorio, in termini di qualifica e di responsabilità assegnata.
Note:
(1) | Titolo di studio. Il curriculum professionale, datato e firmato, deve essere allegato alla presente domanda (cfr. A.2 nella sez. Allegati).
(2) | Selezionare (possibilità di selezione multipla) tra: Responsabile del Laboratorio (unico); Sostituto del Responsabile (al più uno per ogni grandezza); Responsabile UOD (se applicabile); Responsabile del Sistema di Gestione (unico); Assistente del Responsabile del Sistema di Gestione (eventuale), Operatore.
(3) | Solo per Sostituto e Operatore: indicare la grandezza di pertinenza (cfr. All. 1 alla presente DA-05).
ID | Nome e Cognome | Qualifica (1) | Ruolo (2) | Aree metrologiche / Settori (3)
1 |  |  | Responsabile del Laboratorio
2
3
4
5
6
7
8
9
10
11
12
13
14
15

## 2 ¦ Scope of accreditation
Calibration Laboratory Department
DA-05 rev. 10-12
2 | Scope of accreditation
Aim: | Indicate the scope of accreditation, i.e. the metrological areas and sectors (see Annex 1 to this DA-05), the instruments, measuring fields and expanded uncertainties (see EA-4/02) for which the Laboratory requests to be accredited
Notes:
(1) | Select in the event of any changes with respect to the current scope of accreditation (in the case of application for Renewal or Extension/Reduction). [Type "x" to select] The description of any change has to be detailed either in the "Notes" field or in a dedicated document (to be indicated in the "Notes" field itself).
(2) | Leave the field empty in the case of a new sector, i.e. a sector not yet present in the Attachment. 1 for the specific metrological area.
(3) | Indicate any information (in addition to the measurement range) that contribute to the definition of the conditions within which the declared measurement uncertainty is valid.
(4) | Select in the case of flexible scope accreditation (see RT-26). [Type "x" to select] Report the required flexibility in the next "Notes" field.
(5) | Indicate the procedure (or procedures) related to the specific accreditation object, using the relative ID in the list of procedures (section 5). | [6 empty] | Go to List of Procedures >>>
(6) | Indicate the place where the specific calibration is performed, using the relevant ID in the list in section 1. [The possible entries are presented in the list inside the cell]
(7) | Select if the specific calibration takes place externally. [Type "x" to select]
Variation (1) | Metrological area | Sector (2) | Instruments | Measurement conditions (3) | Measurement range / measurement unit | Expanded uncertainty / measurement unit | Flexible (4) | Reference procedure (5) | Place / Site (6) | External (7) | Notes
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A

## 3 ¦ Resources - Personnel
Calibration Laboratory Department
DA-05 rev. 10-12
3 | Resources ¦ Personnel
Aim: | Provide information related to Laboratory personnel (with reference to §6.2 ISO/IEC 17025), in terms of assigned responsibility (role/function).
Notes:
(1) | Indicate the role and/or function assigned, with reference to the organization chart of the Laboratory structure (see A.1 in the Annex section) and to the different roles/functions for which the Laboratory has identified and documented the necessary competence requirements.
(2) | Select in the case of personnel external to the Laboratory, or contracted for the performance of the assigned functions. [Type "x" to select]
(3) | Select in the case of personnel authorized by the Laboratory to release opinions and interpretations (§7.87 ISO/IEC 17025). [Type "x" to select]
(4) | Indicate the metrological area and/or relevant sectors (see Annex 1 to this DA-05), or indicate "Management System".
ID | Name and Surname | Role/Function (1) | External (2) | O&I (3) | Competence areas (4)
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15

## 3 ¦ Altre informazioni (hidden)
Calibration Laboratory Department
DA-05 rev. 10-12
3 | Altre informazioni
3.1 | Il Laboratorio esegue tarature per l'Organizzazione a cui appartiene?
Eventuali commenti
3.2 | Il Laboratorio esegue tarature per conto terzi?
Eventuali commenti
Nei casi di domanda di ACCREDITAMENTO/ESTENSIONE:
3.3 | Indicare, per le tarature richieste in accreditamento, il numero approssimativo di tarature effettuate (rapporti di taratura emessi) dal Laboratorio nell’anno precedente la domanda
Nei casi di domanda di RINNOVO:
3.4 | Numero dei Certificati di Taratura emessi con marchio ACCREDIA durante il periodo del precedente accreditamento
3.5 | Fornire, se rilevanti/applicabili, informazioni circa l’inserimento del Laboratorio all’interno della propria organizzazione madre, compresi i rapporti di interdipendenza con altre strutture (ad es. specificare se il Laboratorio condivide personale, attrezzature, locali con altre strutture, se utilizza materiali/servizi forniti da altri reparti, se al personale indicato nella sez. 2 sono attribuite ulteriori responsabilità, etc. ...)
3.6 | Ai fini dell'esecuzione della valutazione su campo, indicare se il personale addetto alle attività descritte nel manuale del sistema di gestione e le relative registrazioni sono disponibili presso la sede del Laboratorio indicata in DA-00 al § 2.1 oppure, in caso contrario, indicare quali attività e quali registrazioni sono collocate altrove (tenendo conto anche delle eventuali UOD).
SI
NO
SI
NO
Disponibili presso la sede
Disponibili altrove (specificare nello spazio sottostante)

## 4 ¦ Resources - Equipment
Calibration Laboratory Department
DA-05 rev. 10-12
4 | Resources ¦ Equipment
Aim: | Report the complete list of equipment (e.g. samples, instruments, reference materials, software, ...) used by the Laboratory for the performance of calibrations/productions subject to accreditation, including those that may not be owned by the Laboratory.
Notes:
(1) | Progressive number.
(2) | (see UNI CEI 70099: 2008): reference measurement standard (see §5.6) - previously, "primary measurement standard"; working measurement standard (see §5.7) - previously, "secondary measurement standard"; travelling measurement standard (see §5.8) - usually used for external calibration; transfer measurement device (see §5.9).
(3) | Select in case the equipment is not owned by the Laboratory [Type "x" to select]. Write the owner in the next column.
(4) | Select if subject to internal calibration (see RT-25), i.e. a calibration whose results significantly influence the Calibration and Measurement Capabilities of the Laboratory and that i) does not fall within the scope of accreditation of the LAT (and as such can be offered as an accredited calibration service); ii) is performed by personnel and instrumentation under the direct and exclusive control of the LAT or of the organization to which the LAT belongs, applying technical procedures evaluated positively by ACCREDIA-DT. [Type "x" to select]
(5) | Indicate the procedure (or procedures) using the relevant ID in the list of management system documents (section 5). | [7 empty] | Go to documentation list >>>
(6) | Do not indicate in case of internal calibration.
[9 empty] | Use | Calibration
ID (1) | Type of equipment (2) | Not owned (3) | Owner | Description | Manufacturer/Producer | Manufacture Date (year) | Model/type | Serial number | Procedure (5) | Internal (4) | Periodicity (months) | Procedure (5) | Provider (6) | Number/date of the last Calibration Certificate
1

## 5 ¦ Management System Documents
Calibration Laboratory Department
DA-05 rev. 10-12
5 | Management system documentation
Aim: | Identify the documentation of the management system implemented by the Laboratory, i.e. documents and procedures documented in their current revision, reporting any changes from previous versions (already positively evaluated by ACCREDIA DT).
Notes:
(1) | Progressive number, to be used in the description of the scope of accreditation (section 2). |  |  | Go to Scope of Accreditation >>>
(2) | Indicate the standard requirement (ISO/IEC 17025) and/or ACCREDIA documentation (e.g. RT-25) to which responds the specific document the Laboratory has with regards to its own management system. All documents listed here must be sent to ACCREDIA DT (see section 7).
(3) | Select in case the procedure includes the metrological confirmation programme, calibration and intermediate checks, and possible control of the transport effect, for the external calibrations, of the reference measurement standards.
(4) | Select in case the specific procedure is related to a flexible scope accreditation. [Type "x" to select]
(5) | Select in the event of any changes to the procedures already positively assessed by ACCREDIA DT (in the case of application for renewal or extension/reduction). [Type "x" to select]
Management system option |  |  | Indicate the option (A or B) adopted for the management system, with reference to §8.1 of ISO/IEC 17025.
ID (1) | Requirement (2) | Reference/identification code | Title | Revision index | Metrological valence (3) | Flexible (4) | Variation (5)

## 6.1 ¦ PT or ILC Participation
Calibration Laboratory Department
DA-05 rev. 10-12
6.1 | Participation to Proficiency Tests (PT) and/or Interlaboratory Comparisons (ILC)
Aim: | Indicate the PTs and/or the ILCs of which the Laboratory provides evidence (of participation or results) for the assessment of competence by ACCREDIA DT. Indicate the measurement audits and/or the experimental on-site assessment of which the Laboratory requests to ACCREDIA DT the execution for the competence assessment.
Notes:
(1) | Progressive number.
(2) | Evidence of participation: to be selected if the Laboratory has a formal registration and/or formal order available for the relative PT / ILC. Please refer to section 7 for the required documentation. [Type "x" to select]
(3) | Evidence of results: to be selected if the Laboratory has the results of the relative PT/ILC available. Please refer to section 7 for the required documentation. [Type "x" to select]
(4) | Indicate if the specific PT/ILC is an inter-laboratory comparison (as foreseen in EA-4/21) and here called S_ILC. [Type "x" to select]
(5) | For each PT/ILC of which evidence is provided (of participation or results), fill in the table in the following section 6.2, making sure to use the same ID. | [6 empty] | Go to index table >>>
(6) | In case of request for measurement audits or experimental on-site assessment [Type "x" to select] fill in the following table columns (Instrument, Calibration Service Supplier, Calibration Certificate). Please refer to section 7 for the required documentation (recordings of the research done by the Laboratory that prove the unavailability of PT/ILC; copy of Calibration Certificates).
(7) | Indicate the instrument selected by the Laboratory to be used for the required assessment (measurement audit or experimental on-site assessment).
(8) | Indicate the supplier - if available - of the Calibration Certificate of the instrument to be used for the assessment requested.
(9) | Indicate the details of the Calibration Certificate - if available - of the instrument to be used for the assessment requested.
|  |  | Evidences (5) |  |  | Requests (6)
ID (1) | Quantity | Sector | Participation (2) | Results (3) | S_ILC (4) | Measurement Audit | Experimental on-site assessment | Instrument (7) | Provider of Calibration Service (8) | Calibration Certificate (9)
1 | [10 empty] | #N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A

## 6.2 ¦ PT or ILC in assessment
Calibration Laboratory Department
DA-05 rev. 10-12
6.2 | Evidence of participation in Proficiency Tests (PT) and/or Interlaboratory Comparisons (ILC)
Aim: | Provide details of the PTs and/or ILCs of which the Laboratory provides evidence (of participation or findings) for the purposes of competence assessment from ACCREDIA DT.
Notes:
(1) | Progressive number as indicated in the table of section 6.1. |  | <<< Back to Participation Sheet in PT/ILC
(2) | In case of S_ILC, the supplier is to be considered the organizer of the comparison.
(3) | Select whether the Laboratory has the results of the related PT / ILC available. [Type "x" to select]
(4) | If the results are available anonymously (for example, multilateral PT/ILC with a single report), indicate the code or any other information that allows to identify the results relating to the Laboratory.
Results
ID (1) | Name of the supplier of PT/ILC (2) | ID of the PT / ILC | Object of PT/ILC | Available (3) | Code (4)
1

## 6.3 ¦ PT or ILC Planning
Calibration Laboratory Department
DA-05 rev. 10-12
6.3 | Planning of partecipation in Proficiency Tests (PT) and/or Interlaboratory Comparisons (ILC)
Aim: | Write the programme for participation in PT and/or ILC (for each sector for which accreditation is requested) during the period of validity of the accreditation.
Notes:
(1) | Progressive number.
(2) | Select if, for the specific sector, participation in PT or ILC (including S_ILC) is expected in the year indicated during the accreditation period. Failure to select indicates no specific activity during the year. [Type "x" to select]
(3) | Requests for measurement audits and experimental on-site assessments must be foreseen to be carried out during on-site assessments at the time of renewal, ie at the end of the period of validity of the accreditation. It is not possible to request the measurement audits and on-site assessments in the first three years of accreditation.
|  |  | 1°year | 2° year | 3° year | 4° year (3)
ID (1) | Metrological area | Sector | PT/ILC (2) | PT/ILC (2) | PT/ILC (2) | PT/ILC (2) | Measurement Audit | Experimental on-site assessment
1 | [8 empty] | #N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A
#N/A

## 7 ¦ Attachments
Calibration Laboratory Department
DA-05 rev. 10-12
7 | Attachments to be sent with the present application | Accreditation | Extension | Reduction | Renewal | Personal details variation / Transfer of ownership
Notes: | Failure to send all the required attachments is sufficient for the non acceptance of the entire application.
A.1 | Name organization chart of the Laboratory structure (in which all the persons in Section 3 are listed) | X | X | X | X | X
A.2 | Professional curriculum, dated and signed, of all personnel indicated in section 3. | X | X |  | X | X
A.3 | Documentation of the Laboratory Management System, as listed in section 5. Each document - in the last revision - must be provided in electronic PDF format (in controlled distribution). | X | X | X | X | X
A.4 | Copy of the Calibration Certificates (in electronic PDF format) for the reference measurement standards supplied to the Laboratory. | X | X |  | X | X
A.5 | Evidence of the participation (or any results, if available at the date of submission of the application) to the PT and/or ILC (see RT-36) indicated in section 6.2. | X | X |  | X | X
A.6 | In cases where measurement audits or experimental on-site assessments are required (see list in section 6.1): - Evidence of the recordings of the research performed by the Laboratory that demonstrate the unavailability of PT and/or ILC; - Copy of the Calibration Certificates (in electronic PDF format) for the proposed measurement audits or experimental on-site assessment. | X | X |  | X | X
A.7 | Checklist (MD-09-05-S-DT) duly completed in "self assessment" mode for the Laboratory's assessment. | X | X |  | X | X
A.8 | Minutes of the last management review, in compliance with the provisions of ISO/IEC 17025. | X |  |  |  | X
A.9 | Evaluation of possible effects of the reduction on other accredited fields (see RG-13 6.2.1). |  |  | X
A.10 | Chamber of Commerce profile, legally valid (6 months), or equivalent document attesting that the applicant Laboratory possesses a VAT number (as required in DA-00 sect. 2.2.1). | X |  |  | X | X

## _config (hidden)
Grandezze |  | Tipo di procedura (tecnica/gestionale) | Tipo di campione/strumento | Domanda
(Not yet coded) | NOCOD | Tecnica | Reference measurement standard | ACCREDITATION
[LAT] ACCELERATION | SAC | Gestionale | Working measurement standard | EXTENSION
[LAT] PLANE ANGLE | SAP |  | Travelling measurement standard | REDUCTION
[LAT] CATALITIC ACTIVITY | SCT |  | Transfer measurement device | RENEWAL - No modification of CMCs
[LAT] ELECTRO-MAGNETIC FIELD | SEM |  | Measuring instrument (no standard) | RENEWAL - Request modification of CMCs
[LAT] METROLOGICAL CONTROLS | SCM | Ruolo | Reference materials | ANAGRAPHIC VARIATIONS / TRANSFER OF ACCREDITATION
[LAT] STRAIN RATE | SDE |  | Software
[LAT] HARDNESS | SDR | Responsabile del Laboratorio | Other
[LAT] FORCE | SFO | Sostituto del Responsabile |  | Luogo di taratura/produzione
[LAT] MAGNETIC INDUCTION | SIM | Responsabile UOD
[LAT] IRRADIANCE | SIR | Responsabile del Sistema di Gestione |  | permanent laboratory
[LAT] DIMENSIONAL | SLN | Assistente del Responsabile del Sistema di Gestione |  | detached operational unit (UOD) - permanent
[LAT] MASS | SMA | Operatore |  | detached operational unit (UOD) - temporary
[LAT] RF ELECTRICAL QUANTITIES | SRF |  |  | mobile operational unit (UOM)
[LAT] ACOUSTIC | SAU |  |  | on-site (external calibration)
[LAT] TIME AND FREQUENCY | STF
[LAT] DC AND LF ELECTRICAL QUANTITIES | SBF
[LAT] OPTIC | SOT
[LAT] TORQUE | SMT | CMC
[LAT] FLOW RATE | SPO | Metodo di taratura
[LAT] THERMAL POWER | SPT | Metodo di campionamento
[LAT] PRESSURE | SPR | Strumenti ¦ Conferma metrologica
[LAT] AMOUNT OF SUBSTANCE | SQS | Strumenti ¦ Verifica intermedia
[LAT] IONISING RADIATION | SRI | Controllo validità dei risultati
[LAT] TEMPERATURE | STE | Personale ¦ Ruoli e competenze
[LAT] HUMIDITY | SHU | Gestione reclami
[LAT] SPEED | SVE | Altro
[LAT] AIR SPEED | SVA
[LAT] VOLUME | SVO
Settore
[STE-01] THERMOCOUPLES
[STE-02] THERMORESISTENCES
[STE-03] DILATATION THERMOMETERS
[STE-04] THERMOMETRIC CHAINS (INDICATORS / TRANSMITTERS)
[STE-05] CALIBRATORS (METERS / SIMULATORS))
[STE-07] RADIATION THERMOMETERS (PYROMETERS)
[STE-08] AIR TEMPERATURE THERMOMETERS / METERS
[STE-09] FURNACES
[STE-10] THERMOSTATIC-CLIMATIC AMBIENTS (TEMPERATURE MEASUREMENT)
[STE-11] THERMOMETRIC CHAINS IN INDUSTRIAL STEAM GENERATORS
[STE-12] THERMOMETRY IN HEAT TREATMENT PROCESSES
[SHU-01] HYGROMETERS
[SHU-02] DYNAMIC GENERATORS
[SHU-03] STATIC GENERATORS
[SPT-01] THERMAL POWER
[SPR-01] PRESSURE TRANSDUCERS - GAUGE/ABSOLUTE PRESSURE, LIQUID MEDIA
[SPR-02] PRESSURE TRANSDUCERS - GAUGE/ABSOLUTE PRESSURE, GASEOUS MEDIA
[SPR-03] PRESSURE TRANSDUCERS - NEGATIVE GAUGE PRESSURE, GASEOUS MEDIA
[SPR-04] PRESSURE BALANCES - GAUGE PRESSURE, LIQUID MEDIA
[SPR-05] PRESSURE BALANCES - GAUGE PRESSURE, GASEOUS MEDIA
[SPR-07] VACUOMETERS
[SPR-09] PRESSURE TRANSDUCERS - DIFFERENTIAL PRESSURE, GASEOUS MEDIA
[SAC-01] ACCELEROMETER CHAIN
[SAC-02] CALIBRATORS / GENERATORS
[SAC-03] TRANSFER FUNCTION
[SBF-01] DC VOLTAGE
[SBF-02] DC CURRENT
[SBF-03] DC RESISTENCE
[SBF-04] AC VOLTAGE
[SBF-05] AC CURRENT
[SBF-06] HIGH VOLTAGE
[SBF-07] AC RESISTENCE
[SBF-08] INDUCTANCE
[SBF-09] CAPACITANCE
[SBF-10] HUIGH CURRENT
[SBF-11] ELECTRIC POWER
[SBF-12] ELECTRICAL ENERGY
[SBF-13] ELECTRICAL ENERGY MEASURING FOR FISCAL USE
[SBF-16] HIGH PULSED VOLTAGE AND CURRENT
[SBF-17] AC VOLTAGE RATE
[SBF-18] AC CURRENT RATE
[SBF-19] ELECTRICAL SAFETY
[SBF-20] OSCILLOSCOPES
[SRF-01] RF POWER - LEVEL, CALIBRATION FACTOR/CORRECTION COEFFICIENT, BANDWIDTH
[SRF-02] SCALAR PARAMETERS - ATTENUATION, REFLECTION COEFFICIENT, STANDING WAVE RATIO
[SRF-03] SCATTERING PARAMETERS - MAGNITUDE, PHASE
[SRF-04] CHARACTERISTICS OF SIGNAL AND PULSES
[SEM-01] FIELD PROBES - CALIBRATION FACTOR/COEFFICIENT, FIELD STRENGTH
[SEM-02] ENVIRONMENTAL ELECTROMAGNETIC FIELD MEASUREMENT - ANTENNAS
[SIM-01] MAGNETIC INDUCTION
[SAU-01] ACOUSTIC PRESSURE LEVEL
[SAU-02] ABSOLUTE SENSITIVITY TO ACOUSTIC PRESSURE
[SOT-01] OPTICAL POWER
[SOT-02] FIBER OPTIC ATTENUATION
[SOT-03] WAVELENGHT
[SOT-04] LUMINOUS FLUX
[SOT-05] ILLUMINANCE
[SOT-06] LUMINOUS INTENSITY
[SOT-07] LUMINANCE
[SOT-08] COLOR TEMPERATURE
[SOT-09] SPECTRAL RADIANCE
[SOT-10] SPECTRAL IRRADIANCE
[SOT-11] SPECTRAL SENSITIVITY
[SOT-12] SOLAR IRRADIANCE
[SOT-13] REFLECTION SPECTRAL FACTOR
[SMA-01] MASS STANDARDS AND WEIGHTS
[SMA-02] NON AUTOMATIC WEIGHING INSTRUMENTS (NAWI)
[SMA-03] GAS MASS
[SMA-04] AUTOMATIC WEIGHING INSTRUMENTS (AWI)
[SMA-05] MASS OF LIQUID
[SVO-01] GAS VOLUME
[SVO-02] LIQUID VOLUME
[SPO-01] GAS - MASS AND VOLUME FLOW RATE
[SPO-02] LIQUID - MASS AND VOLUME FLOW RATE
[SFO-01] TESTING MACHINE
[SFO-03] FORCE PROVING SYSTEMS
[SFO-04] PENDULUM-IMPACT TESTING MACHINE - METALLIC MATERIALS
[SFO-05] PENDULUM-IMPACT TESTING MACHINE - PLASTIC MATERIALS
[SFO-06] DYNAMOMETERS / LOAD CELLS
[SDE-01] STRAIN GAGES / DISPLACEMENT TRANSDUCERS
[SDE-02] DISPLACEMENT TRANSDUCERS FOR SPEED MEASUREMENT
[SDR-01] HARDNESS TESTING MACHINES - (PLASTIC) SHORE, IRHD; (RUBBER) A,D,AO,AM
[SDR-02] HARDNESS TESTING MACHINES - (METALLIC) VICKERS, ROCKWELL, KNOOP, BRINELL.
[SDR-03] HARDNESS TESTING REFERENCE BLOCKS
[SMT-01] TORQUE WRENCHES / HAND TORQUE TOOLS DYNAMOMETERS
[SMT-02] TORQUE METERS
[SMT-04] TORQUE CALIBRATION BENCHES
[SQS-03] GASEOUS MIXTURES CONCENTRATION
[SQS-05] ANALYTICAL MEASUREMENT INSTRUMENTS
[SQS-06] OPTICAL PARTICLES COUNTER
[SCT-01] CATALITIC ACTIVITY
[STF-01] FREQUENCY
[STF-02] TIME INTERVAL
[STF-03] TACHOGRAPHS VERIFICATION INSTRUMENTS
[SLN-01] THREAD DIAMETER STANDARDS
[SLN-02] GAUGE BLOCKS
[SLN-03] LONG GAUGE BLOCKS
[SLN-05] TRAC GAUGES
[SLN-06] STEP GAUGES
[SLN-07] GEAR STANDARDS
[SLN-08] FLATNESS STANDARDS
[SLN-09] ROUNDNESS STANDARDS
[SLN-10] ROUGHNESS STANDARS
[SLN-11] POLISHED DIAMETER STANDARDS
[SLN-12] COORDINATE MEASURING MACHINES (CMM)
[SLN-13] COORDINATE MEASURING MACHINE (CMM) AS COMPARATOR
[SLN-14] OPTICAL FLATS AND LINE SCALES
[SLN-15] RODS (ENGINEER SCALES, SURVEYOR TAPES)
[SLN-16] HAND INSTRUMENTS: GAUGES AND MICROMETERS
[SLN-17] HAND INSTRUMENTS: COMPARATORS AND TRANSDUCERS
[SLN-19] ONE-DIMENSION MEASURING MACHINES
[SLN-20] OPTICAL PROFILE PROJECTOR
[SLN-21] ROAD SEGMENTS
[SLN-22] DIMENSIONAL MEASUREMENTS WITH NON-CONTACT TECHNIQUES
[SAP-01] DIVIDERS
[SAP-02] SMALL ANGLE GENERATORS
[SAP-03] ANGLE INSTRUMENTS
[SAP-04] ANGLE STANDARDS
[SAP-05] ANGLE PRISMS
[SIR-01] IRRADIANCE
[SVE-01] VEHICLE'S SPEED MEASURING DEVICES
[SVA-01] ANEMOMETERS
[SRI-01] DOSIMETRY FOR ENVIRONMENT RADIATION PROTECTION, MAMMOGRAPHY, HIGH DOSES / LOW ENERGY X-RAYS (<= 50 kV)
[SRI-02] DOSIMETRY FOR ENVIRONMENT RADIATION PROTECTION, IMAGE DIAGNOSTIC, HIGH DOSES / MEDIUM ENERGY X-RAYS (> 50 kV)
[SRI-03] DOSIMETRY FOR ENVIRONMENT RADIATION PROTECTION WITH GAMMA RADIATION
[SRI-04] DOSIMETRY FOR PERSONAL RADIATION PROTECTION
[SRI-05] SURFACE CONTAMINATION MEASUREMENT
[SRI-06] RADIONUCLIDES' ACTIVITY MEASUREMENT
[SCM-01] PERIODIC VERIFICATION OF INSTRUMENTS WITH LEGAL MEASURING FUNCTION
(Not yet coded)
(Not available)